## AUG - 2026 month generation
Plant Name : 1 MWp New Solar Power Plant |  |  | AUG- 2026 Generation report
Date | Insolation for the day(POA) | Loss of Insolation for the day due to grid failure | Insolation for the day with grid outage period taken out | Deemed Generation | Meter Reading In HT Yard (Billing Meter ) | Total Export for the day (KWH) | Total Generation(including deemed generation) | Total Generation in Inverters | PR(Actual)=PRday considering "E", grid outage & load shedding | Guaranteed PR | CUF | Plant Generation Time | Plant UP time | Plant down time | Grid outage loss time | Weather | Ambient Temperature© | Surface Temperature© | PM & Module cleaning deatiles (Statues) | Breakdown | Remark
| Wh/m2 | Wh/m2 | Wh/m2 | kWh |  |  | kwh | KWh | (%) | (%) | (%) | min | (%) | min | min
2026-08-01 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-02 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-03 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-04 | 4467 | 0 | 4467 | 0 | 0 | 3118 | 3118 | 3118 | 69.8% | 74.26% | 12.99% | 750 | 100% | 0 | 0 | Climate Varation |  | 27 |  |  | Three Inverter Running In Tempoary Cable
2026-08-05 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0! | [6 empty] | g
2026-08-06 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-07 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-08 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-09 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-10 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-11 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-12 |  |  | 0 |  |  |  | kwh: 0; KWh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-13 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-14 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-15 | 5213 | 500 | 4713 | 350 | 0 | 3197 | 3547 | 3197 | 68.04% | 74.46% | 14.78% | 750 | 91.33% | 65 | 65 | Climate Varation |  | 21 |  |  | Climate Varation
2026-08-16 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-17 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-18 | 5400 | 700 | 4700 | 400 | 0 | 3715 | 4115 | 3715 | 76.2% | 74.43% | 17.15% | 750 | 90.4% | 72 | 72 | Climate Varation |  | 29 |  |  | Climate Varation
2026-08-19 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-20 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-21 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-22 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-23 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-24 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-25 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-26 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-27 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-28 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-29 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-30 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
2026-08-31 |  |  | 0 |  |  |  | kwh: 0; (%): #DIV/0!; (%): 0%; (%): #DIV/0!
Total | 15080 |  | 15080 |  |  | 10030 | kwh: 10030; KWh: 10030; (%): 22.94%; (%): 14.41%; (%): #DIV/0!

## PR Graph
Plant | 2.9 MWp RBA Textiles Kumppam
DC Capacity | 2.9 MWp
Date | Insolation -POA (Wh/m2) | Generation | Guaranteed PR | Actual PR (contractual) | Specific Yield (kWh/MWp)
2016-03-20 | 7261.5 | 12214 |  | 71.88% | #VALUE!
2016-03-21 | 7124.6 | 11980.2 |  | 71.86% | #VALUE!
2016-03-22 | 7483.9 | 12470.9 |  | 71.21% | #VALUE!
2016-03-23 | 6402.4 | 10814.8 |  | 72.19% | #VALUE!
2016-03-24 | 6682.2 | 11294.3 |  | 72.23% | #VALUE!
2016-03-25 | 6825.2 | 11547.9 |  | 72.31% | #VALUE!
2016-03-26 | 6310.1 | 10689.5 |  | 72.39% | #VALUE!
2016-03-27 | 6251.3 | 10564.5 |  | 72.22% | #VALUE!
2016-03-28 | 6555.3 | 11260.4 |  | 73.41% | #VALUE!
2016-03-29 | 6090.3 | 10210.6 |  | 71.65% | #VALUE!
2016-03-30 | 5950.2 | 10057.2 |  | 72.23% | #VALUE!
2016-03-31 | 5372.9 | 9176.1 |  | 72.98% | #VALUE!
2016-04-01 | 0 | 0 |  | #VALUE! | #VALUE!
2016-04-02 | 0 | 0 |  | #VALUE! | #VALUE!
2016-04-03 | 0 | 0 |  | #VALUE! | #VALUE!
2016-04-04 | 0 | 0 |  | #VALUE! | #VALUE!
2016-04-05 | 6092.89 | 5501.4 |  | 77.91% | #VALUE!
2016-04-06 | 0 | 0 |  | #VALUE! | #VALUE!
2016-04-07 | 0 | 0 |  | #VALUE! | #VALUE!
2016-04-08 | 0 | 0 |  | #VALUE! | #VALUE!
2016-04-09 | 0 | 0 |  | #VALUE! | #VALUE!
2016-04-10 | 0 | 0 |  | #VALUE! | #VALUE!
2016-04-11 | 0 | 0 |  | #VALUE! | #VALUE!
2016-04-12 | 0 | 0 |  | #VALUE! | #VALUE!
2016-04-13 | 0 | 0 |  | #VALUE! | #VALUE!
2016-04-14 | 0 | 0 |  | #VALUE! | #VALUE!
2016-04-15 | 0 | 0 |  | #VALUE! | #VALUE!
2016-04-16 | 6559.1 | 10989.1 |  | 71.6% | #VALUE!
2016-04-17 | 576.3 | 971.2 |  | 72.02% | #VALUE!
2016-04-18 | 4880.1 | 8333 |  | 72.97% | #VALUE!
2016-04-19 | 7147 | 12124.5 |  | 72.5% | #VALUE!
2026-08-11 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-02 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-03 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-04 | 4467 | 3118 | 78% | 69.8% | 1.0752
2026-08-05 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-06 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-07 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-08 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-09 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-10 | 0 | 0 | 78% | #DIV/0! | 0
#REF! | 0 | 0 | 78% | #DIV/0! | 0
2026-08-12 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-13 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-14 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-15 | 4713 | 3197 | 78% | 68.04% | 1.1024
2026-08-16 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-17 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-18 | 4700 | 3715 | 78% | 76.2% | 1.281
2026-08-19 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-20 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-21 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-22 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-23 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-24 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-25 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-26 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-27 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-28 | 0 | 0 | 78% | #DIV/0! | 0
2026-08-29 | 0 | 0 | 78% | #DIV/0! | 0
#REF! | #REF! | #REF! | 78% | #REF! | #REF!
#REF! | #REF! | #REF! | 78% | #REF! | #REF!
| #REF! | #REF! | 178% | #REF! | #REF!

## Daily Energy
1 MWp Akshaya Solar Power Plant
INV-NO | DC capacity(KW) | 2026-08-01 | 2026-08-02 | 2026-08-03 | 2026-08-04 | 2026-08-05 | 2026-08-06 | 2026-08-07 | 2026-08-08 | 2026-08-09 | 2026-08-10 | 2026-08-11 | 2026-08-12 | 2026-08-13 | 2026-08-14 | 2026-08-15 | 2026-08-16 | 2026-08-17 | 2026-08-18 | 2026-08-19 | 2026-08-20 | 2026-08-21 | 2026-08-22 | 2026-08-23 | 2026-08-24 | 2026-08-25 | 2026-08-26 | 2026-08-27 | 2026-08-28 | 2026-08-29 | 2026-08-30 | 2026-08-31
INV-1 | 127.53 | 2026-08-14: 208; 2026-08-15: 218; 2026-08-18: 178
INV-2 | 127.53 | 2026-08-14: 248; 2026-08-15: 248; 2026-08-18: 310
INV-3 | 127.53 | 2026-08-14: 243; 2026-08-15: 256; 2026-08-18: 300
INV-4 | 127.53 | 2026-08-14: 213; 2026-08-15: 235; 2026-08-18: 275
INV-5 | 127.53 | 2026-08-14: 251; 2026-08-15: 257; 2026-08-18: 311
INV-6 | 127.53 | 2026-08-14: 237; 2026-08-15: 244; 2026-08-18: 289
INV-7 | 137.34 | 2026-08-14: 255; 2026-08-15: 260; 2026-08-18: 315
INV-8 | 137.34 | 2026-08-14: 231; 2026-08-15: 236; 2026-08-18: 240
INV-9 | 137.34 | 2026-08-14: 250; 2026-08-15: 256; 2026-08-18: 305
INV-10 | 137.34 | 2026-08-14: 260; 2026-08-15: 240; 2026-08-18: 312
INV-11 | 137.34 | 2026-08-14: 231; 2026-08-15: 237; 2026-08-18: 280
INV-12 | 127.53 | 2026-08-14: 252; 2026-08-15: 260; 2026-08-18: 310
INV-13 | 127.53 | 2026-08-14: 239; 2026-08-15: 250; 2026-08-18: 290
INV-14 | 127.53
INV-15 | 127.53
INV-16 | 127.53
INV-17 | 127.53
INV-18 | 137.34
INV-19 | 137.34
INV-20 | 137.34
INV-21 | 137.34
INV-22 | 137.34

## Daily SY
RBA, Textiles
INV No | DC capacity(KW) | 2026-08-01 | 2026-08-02 | 2026-08-03 | 2026-08-04 | 2026-08-05 | 2026-08-06 | 2026-08-07 | 2026-08-08 | 2026-08-09 | 2026-08-10 | 2026-08-11 | 2026-08-12 | 2026-08-13 | 2026-08-14 | 2026-08-15 | 2026-08-16 | 2026-08-17 | 2026-08-18 | 2026-08-19 | 2026-08-20 | 2026-08-21 | 2026-08-22 | 2026-08-23 | 2026-08-24 | 2026-08-25 | 2026-08-26 | 2026-08-27 | 2026-08-28 | 2026-08-29 | 2026-08-30 | 2026-08-31
INV-1 | 127.53 | 489 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.631 | 1.7094 | 0 | 0 | 1.3958 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0
INV-2 | 127.53 | 495 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9446 | 1.9446 | 0 | 0 | 2.4308 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0
INV-3 | 127.53 | 501 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | 2.0074 | 0 | 0 | 2.3524 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0
INV-4 | 127.53 | 477 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9054 | 1.8427 | 0 | 0 | 2.1564 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0
INV-5 | 127.53 | 446 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6702 | 2.0152 | 0 | 0 | 2.4386 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF! | 0 | 0
INV-6 | 127.53 | 486 | 0 | 0 | 0 | 0 | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9682 | 1.9133 | 0 | 0 | 2.2661 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0
INV-7 | 137.34 | 516 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7256 | 1.8931 | 0 | 0 | 2.2936 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0
INV-8 | 137.34 | 534 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.682 | 1.7184 | 0 | 0 | 1.7475 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0
INV-9 | 137.34 | 533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8203 | 1.864 | 0 | 0 | 2.2208 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | #REF! | 0 | 0 | 0 | 0
INV-10 | 137.34 | 513 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8931 | 1.7475 | 0 | 0 | 2.2717 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0
INV-11 | 137.34 | 516 | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.682 | 1.7256 | 0 | 0 | 2.0387 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0
INV-12 | 127.53 | 477 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.976 | 2.0387 | 0 | 0 | 2.4308 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0
INV-13 | 127.53 | 473 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8741 | 1.9603 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0
INV-14 | 127.53 | 470 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0
INV-15 | 127.53 | 465 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0
INV-16 | 127.53 | 478 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0
INV-17 | 127.53 | 480 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0
INV-18 | 137.34 | 462 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INV-19 | 137.34 | 494 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INV-20 | 137.34 | 480 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INV-21 | 137.34 | 495 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | 0 | 0 | 0 | 0 | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INV-22 | 137.34 | 495 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Dev. w.r.t plots tracker
RBA, Textiles
INV NO | 2026-08-01 | 2026-08-02 | 2026-08-03 | 2026-08-04 | 2026-08-05 | 2026-08-06 | 2026-08-07 | 2026-08-08 | 2026-08-09 | 2026-08-10 | 2026-08-11 | 2026-08-12 | 2026-08-13 | 2026-08-14 | 2026-08-15 | 2026-08-16 | 2026-08-17 | 2026-08-18 | 2026-08-19 | 2026-08-20 | 2026-08-21 | 2026-08-22 | 2026-08-23 | 2026-08-24 | 2026-08-25 | 2026-08-26 | 2026-08-27 | 2026-08-28 | 2026-08-29 | 2026-08-30 | 2026-08-31
INV-1 | -8.427% | [13 empty] | -16.15% |  |  | -42.77%
INV-2 | -7.303% | [13 empty] | -4.615% |  |  | -0.3215%
INV-3 | -6.18% | [13 empty] | -1.538% |  |  | -3.537%
INV-4 | -10.67% | [13 empty] | -9.615% |  |  | -11.58%
INV-5 | -16.48% | [13 empty] | -1.154% |  |  | 0%
INV-6 | -8.989% | [13 empty] | -6.154% |  |  | -7.074%
INV-7 | -3.371% | [13 empty] | -7.143% |  |  | -5.949%
INV-8 | 0% | [13 empty] | -15.71% |  |  | -28.34%
INV-9 | -0.1873% | [13 empty] | -8.571% |  |  | -8.934%
INV-10 | -3.933% | [13 empty] | -14.29% |  |  | -6.844%
INV-11 | -3.371% | [13 empty] | -15.36% |  |  | -16.4%
INV-12 | -10.67% | [13 empty] | 0% |  |  | -0.3215%
INV-13 | -11.42% | [13 empty] | -3.846%
INV-14 | -11.99%
INV-15 | -12.92%
INV-16 | -10.49%
INV-17 | -10.11%
INV-18 | -13.48%
INV-19 | -7.491%
INV-20 | -10.11%
INV-21 | -7.303%
INV-22 | -7.303%